## HMA_UPS List_021626
Type | Label | Model | Model Number | Serial Number | IP Address | MAC Address | Application Version | Location | Groups | Remark
UPS | HMA UPS PG-A (10.112.0.76) | Smart-UPS SRT 3000 | SRT3000RMXLA-NC | AQ2431394623 | 10.112.0.76 | 28:29:86:87:EC:50 | v2.0.0.5 | HMA_Parking Garage | UPS-HMA
UPS | HMA UPS PG-B (10.112.0.77) | Smart-UPS SRT 3000 | SRT3000RMXLA-NC | AS2507193255 | 10.112.0.77 | 28:29:86:B3:35:38 | v2.5.0.6 | HMA_Parking Garage | UPS-HMA
UPS | HMA UPS PG-A2 | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535170150 |  |  |  | HMA_Parking Garage | UPS-HMA | NEW
UPS | HMA UPS PG-B2 | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535170812 |  |  |  | HMA_Parking Garage | UPS-HMA | NEW
UPS | HMA UPS TC-A (10.112.5.21) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2314170047 | 10.112.5.21 | 28:29:86:83:CA:1F | v2.0.0.5 | HMA Training Center | UPS-HMA
UPS | HMA UPS TC-B (10.112.5.20) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273579 | 10.112.5.20 | 28:29:86:B5:19:B0 | v2.5.0.6 | HMA Training Center | UPS-HMA
UPS | IDF UPS 1W-A (10.112.3.155) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535281778 |  |  |  | HMA 1West | UPS-HMA | NEW
UPS | IDF UPS 1W-B (10.112.3.169) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535281781 |  |  |  | HMA 1West | UPS-HMA | NEW
UPS | IDF UPS 2E-A (10.112.7.21) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535281782 |  |  |  | HMA 2East | UPS-HMA | NEW
UPS | IDF UPS 2E-B (10.112.7.20) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535281786 |  |  |  | HMA 2East | UPS-HMA | NEW
UPS | IDF UPS 2W-A (10.112.9.39) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535281805 |  |  |  | HMA 2West | UPS-HMA | NEW
UPS | IDF UPS 2W-B (10.112.9.50) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2535281806 |  |  |  | HMA 2West | UPS-HMA | NEW
UPS | IDF UPS 3E-A (10.112.11.139) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2426371407 | 10.112.11.139 | 28:29:86:9A:DC:5F | v2.5.0.6 | HMA 3East | UPS-HMA
UPS | IDF UPS 3E-B (10.112.11.40) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273554 | 10.112.11.40 | 28:29:86:B5:19:BC | v2.5.0.6 | HMA 3East | UPS-HMA
UPS | IDF UPS 3W-A (10.112.13.44) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2314170090 | 10.112.13.44 | 28:29:86:84:13:B5 | v2.0.0.5 | HMA 3West | UPS-HMA
UPS | IDF UPS 3W-B (10.112.13.19) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273586 | 10.112.13.19 | 28:29:86:B5:19:B5 | v2.5.0.6 | HMA 1West | UPS-HMA
UPS | IDF UPS 4E-A (10.112.15.74) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2314170043 | 10.112.15.74 | 28:29:86:84:13:F9 | v2.0.0.5 | HMA 4East | UPS-HMA
UPS | IDF UPS 4E-B (10.112.15.15) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273582 | 10.112.15.15 | 28:29:86:B5:19:25 | v2.5.0.6 | HMA 4East | UPS-HMA
UPS | IDF UPS 4W-A (10.112.17.186) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2426371356 | 10.112.17.186 | 28:29:86:9A:DC:77 | v2.5.0.6 | HMA 4West | UPS-HMA
UPS | IDF UPS 4W-B (10.112.17.208) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2426371319 | 10.112.17.208 | 28:29:86:9A:DB:61 | v2.5.0.6 | HMA 4West | UPS-HMA
UPS | IDF UPS 5E-A (10.112.19.136) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2426371406 | 10.112.19.136 | 28:29:86:9A:DC:54 | v2.5.0.6 | HMA 5East | UPS-HMA
UPS | IDF UPS 5E-B (10.112.19.180) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273581 | 10.112.19.180 | 28:29:86:B5:19:B7 | v2.5.0.6 | HMA 5East | UPS-HMA
UPS | IDF UPS 5W-A (10.112.21.157) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2409172590 | 10.112.21.157 | 28:29:86:94:59:3F | v2.0.0.5 | HMA 5West | UPS-HMA
UPS | IDF UPS 5W-B (10.112.21.187) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273553 | 10.112.21.187 | 28:29:86:B5:19:2A | v2.5.0.6 | HMA 5West | UPS-HMA
UPS | IDF UPS 6E-A (10.112.23.155) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2426371414 | 10.112.23.155 | 28:29:86:9B:75:97 | v2.5.0.6 | HMA 6East | UPS-HMA
UPS | IDF UPS 6E-B (10.112.23.2) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273552 | 10.112.23.2 | 28:29:86:B5:19:C1 | v2.5.0.6 | HMA 6East | UPS-HMA
UPS | IDF UPS 6W-A (10.112.25.32) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2426271303 | 10.112.25.32 | 28:29:86:9A:DB:60 | v2.5.0.6 | HMA 6West | UPS-HMA
UPS | IDF UPS 6W-B (10.112.25.20) | Smart-UPS SRT 8000 | SRT8KRMXLT | AS2513273580 | 10.112.25.20 | 28:29:86:B5:19:1A | v2.5.0.6 | HMA 6West | UPS-HMA
UPS | MPOE UPS 1E-A (10.112.5.34) | Symmetra LX 16000 RM | Symmetra LX 16000 RM | 5D2249T04846 | 10.112.5.34 | 28:29:86:78:49:98 | v6.9.4 | HMA 1East(1.1) | UPS-HMA
UPS | MPOE UPS 1E-B (10.112.5.19) | Smart-UPS Modular Ultra 15kW | SRYLF15KRMT | AD2514220017 | 10.112.5.19 | 28:29:86:B4:51:55 | v2.5.4.4 | HMA 1East(1.1) | UPS-HMA
UPS | 6th FLOOR BOARDROOM UPS | Smart-UPS SRT 3000 | SRT3000RMXLA-NC | AS2523192628 |  |  | v2.5.0.6 | 6th FLOOR BOARDROOM | UPS-HMA

## KUS_UPS List_021626
Type | Label | Model | Model Number | Serial Number | IP Address | MAC Address | Application Version | Location | Groups
UPS | IDF1 (10.119.141.25) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS1936371898 | 10.119.141.25 | 28:29:86:26:70:0D | v7.1.2 | KIA Building IDF1 | UPS-KUS
UPS | IDF2 (10.119.142.237) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS1935371831 | 10.119.142.237 | 28:29:86:26:33:99 | v7.1.2 | KIA Building IDF2 | UPS-KUS
UPS | IDF3 (10.119.143.129) | Smart-UPS SRT 5000 | SRT5KRMXLT | AQ1834273510 | 10.119.143.129 | 28:29:86:13:7D:AB | v6.8.0 | KIA Building IDF3 | UPS-KUS
UPS | IDF4 (10.119.144.7) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS1936371879 | 10.119.144.7 | 28:29:86:26:68:79 | v7.1.2 | KIA Building IDF4 | UPS-KUS
UPS | IDF5 (10.119.145.9) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS1935171944 | 10.119.145.9 | 28:29:86:26:2F:04 | v7.1.2 | KIA Building IDF5 | UPS-KUS
UPS | IDF6 (10.119.146.135) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS1935371827 | 10.119.146.135 | 28:29:86:26:0D:EF | v6.6.4 | KIA Building IDF6 | UPS-KUS
UPS | IDF7 (10.119.147.21) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS1936371900 | 10.119.147.21 | 28:29:86:26:70:05 | v7.1.2 | KIA Building IDF7 | UPS-KUS

## HAEA HQ_UPS List_021626
Type | Label | Model | Model Number | Serial Number | IP Address | MAC Address | Application Version | Location | Groups
UPS | HAEA-IDF2-UPS (10.189.193.210) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2528170119 | 10.189.193.210 | 28:29:86:BF:98:65 | v2.5.0.6 | HAEA HQ | HAEA HQ Office
UPS | HAEA-IDF3-UPS (10.189.193.220) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2528281659 | 10.189.193.220 | 28:29:86:BF:AA:6A | v2.5.0.6 | HAEA HQ | HAEA HQ Office
UPS | HAEA-IDF4-UPS (10.189.193.230) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2528281654 | 10.189.193.230 | 28:29:86:BF:AA:4E | v2.5.0.6 | HAEA HQ | HAEA HQ Office
UPS | HAEA-IDF5-UPS (10.189.193.240) | Smart-UPS SRT 5000 | SRT5KRMXLT | AS2528280276 | 10.189.193.240 | 28:29:86:BF:98:E7 | v2.5.0.6 | HAEA HQ | HAEA HQ Office
UPS | HAEA-MDF-UPS-A (10.189.193.196) | Smart-UPS Modular Ultra 20kW | SRYLF20KRMT | AD2520120007 | 10.189.193.196 | 28:29:86:B6:70:E1 | v2.5.1.3 | HAEA HQ | HAEA HQ Office
UPS | HAEA-MDF-UPS-B (10.189.193.197) | Smart-UPS Modular Ultra 20kW | SRYLF20KRMT | AD2520120012 | 10.189.193.197 | 28:29:86:B6:70:E7 | v2.5.1.3 | HAEA HQ | HAEA HQ Office